|  | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| Personnel 1. Is appropriate warning and informational signage in place? (e.g., “NO TRESPASSING,” “AUTHORIZED PERSONNEL ONLY”) |  |  |  |  |
| 2. Are access keys or codes only supplied to authorized individuals? |  |  |  |  |
| Operational Security - Is the area periodically patrolled by: - Internal security force - Local law enforcement agency - Memorandum of understanding (MOU) in force - Neighborhood watch - Other |  |  |  |  |
| - Are facilities periodically inspected? - What is the frequency of inspection? |  |  |  |  |
| Physical Security - Is perimeter fenced and gated? - Fencing in good condition and secure to ground (no more than a 6” gap to prevent entry underneath) - Fencing at least 4 feet higher than any structure or landscaping that may provide climbing access - Fencing at least 6 feet away from any structure or landscaping that may provide climbing access - Gates locked |  |  |  |  |
| 2. Are access roads gated and locked? |  |  |  |  |
| 3. Is perimeter fence clearly visible and free from brush, trash, or other barriers? |  |  |  |  |
| 4. Is there appropriate exterior lighting? Do the lights function well? |  |  |  |  |
| 5. Are there tamper-proof locks? |  |  |  |  |
| 6. Are other access controls operational? |  |  |  |  |
| 7. How are alarms monitored? |  |  |  |  |
| 8. Are alarm response procedures in place? |  |  |  |  |
| Biological/Chemical Contamination 1. Is direct access to water protected? |  |  |  |  |
| - Are monitoring systems: - In place? - Operational? - Tested? - Have an associated response plan? |  |  |  |  |
| Cyber/SCADA/Communications - Alarms - Internally monitored? - Externally monitored? - Have an associated response plan? |  |  |  |  |

Field Assessment Checklist for Small Systems Critical Assets 
(based on Appendix B of AWWA’s 2002 Water System Security: A Field Guide)